## Slide 1
Standard Dissolution Tester
Standard 16-hole
multi-parameter digestion
instrument meets large batch sample testing needs and saves time

## Slide 2
wclenv
watenv

## Slide 3
Product Name | Water Quality Analyzer |  |  |  | 
Product Model | WTS50-1 | WTS50-2 | WTS50-3 | WTS50-7 | WTS50-Q
Measurement Parameters | Single Parameter | Dual Parameters | Triple Parameters | Seven Parameters | Full Parameters
General parameters Measurement | COD:0~15000mg/L;Ammonia Nitrogen:0~50mg/L;Total Phosphorus:0~30mg/L;Total Nitrogen:0~450mg/L Turbidity:0～4000NTU;Chroma:0~5000 degrees;Suspended solids:0~8000mg/L |  |  |  | 
range Measurement accuracy | ≤±5% |  |  |  | 
Indication error | ≤±4% |  |  |  | 
Repeatability | ≤±3% |  |  |  | 
Store data | Article 30000 |  |  |  | 
Anti-chlorine interference | [cl-<1000mg/L No effect;[cl-]<20000mg/L(optional) |  |  |  | 
Light Source Lifespan | 100,000 hours |  |  |  | 
Light source stability | ≤0.001A/20min |  |  |  | 
Color compariso | n method Color comparison bottle, |  |  |  | 
Display mode | 8-inch Color Touch Screen |  |  |  | 
Power Supply Method | 220V;50Hz |  |  |  | 
Printing method | Standard equipped with built-in thermal printer |  |  |  | 
Instrument size | 435mm×275mm×180mm |  |  |  | 
Instrument weight | 3.5Kg |  |  |  | 
Ambient temperature | 5~40°℃ |  |  |  | 
Product Parameters
PARAMETER TABLE
color comparison tube

## Slide 4
A careful quick
16-hole digestion instrument
d with 16-hole multi-parameter digestion instrument
mand d for large-scale batch sample testing
Save time
PRODUCT DETAILS
Built-in pr hter
Fast data ppnting
Standand equi
Meet the

## Slide 5
l r comparisen Built-in printer 8-inch Color Touch Screen
k
o
Tan
Ca
PRODUCT LIST
Switch Power interface Product Name Plate Video interface

## Slide 6
Smart
COD Range:0~15000mg/L
Ammonia Nitrogen Range:0~50mg/L
Total phosphorus range:0~30 mg/L
Total Nitrogen Range:0~450mg/L
Turbidity Range:0~4000NTU
Color temperature range:0~5000 degrees
Multiple
parameters
Water quality detector WTS50-1 single parameter

## Slide 7
Total Nitrogen Range:0~450mg/L
Turbidity Range:0~4000NTU
Color temperature range:0~5000 degrees
COD Range:0~15000mg/L
Ammonia Nitrogen Range:0~50mg/L
Total phosphorus range:0~30 mg/L
Multiple
parameters
Water quality detector
WTS50-2 Dual Parameter
Efficient
Convenient
Smart
Accurate

## Slide 8
COD Range:0~15000mg/L
Ammonia Nitrogen Range:0~50mg/L
Total phosphorus range:0~30 mg/L
Total Nitrogen Range:0~450mg/L
Turbidity Range:0~4000NTU
Color temperature range:0~5000 degrees
Multiple
parameters
Water quality detector
WTS50-3 three parameters
Efficient
Convenient
Smart
Accurate

## Slide 9
Multiple
parameters
Water quality detector
WTS50-7 Seven Parameters
COD Range:0~15000mg/L
Ammonia Nitrogen Range:0~50mg/L
Total Nitrogen Range:0~450mg/L
Turbidity Range:0~4000NTU
Total phosphorus range:0~30 mg/L Color temperature range:0~5000 degrees
Efficient
Convenient
Smart
Accurate

## Slide 10
Multiple
parameters
Water quality detector
/WTS50-Q Full Parameters
COD Range:0~15000mg/L
Ammonia Nitrogen Range:0~50mg/L
Total Nitrogen Range:0~450mg/L
Turbidity Range:0~4000NTU
Total phosphorus range:0~30 mg/L Color temperature range:0~5000 degrees
Efficient
Convenient
Smart
Accurate