High precision liquid

level identification

system

High temperature controlprecision       10.4     inch      touch     screen     Fuzzy temperature control principle      Large  true  color touch screen

Automatic detection

Automatic detection of localatmospheric pressure

Level tracking

High  precision  liquid  levelidentfication  system

阎

Cooling system

Compressorrefrigeration

Fire  extinguishing system can be

fire

manually  nitrogen

Scope of application

Suitablefor the determination of industrial volatile organic liquid,organic    solvent used in raw materials,etc.Equipped with asuitable flask,it can also

be used for the distillation determination of gasoline,aviation gasoline

injection fuel,solvents with special boiling points,naphtha,diesel,distillate

fuel and similar petroleum products

Technical

parameters

product analysis

Heating  chamber

Observation window

Lifting       knob

The   equipment   is    compact   in   structure,beautiful    in   shape   and   convenient    in   operation

Printing device

Operation panel

埃特拉德

Recovery chamber    cooleroperatinglight

Condensing tube indicator Heating furnace indicator  Power  switch

Collection         chamber

Fire extinguishingswitch

High precision liquid

level identification

system

——

The instrument adopts imported high precision liquid level identification  system,high precision liquid level tracking equipment compact structure, beautiful appearance,easy to operate

Instrument list

##### 1.Complete sets of instruments

| Serial number | Te Weighing platform | unit | quantity |
| --- | --- | --- | --- |
| Two | "Distillation tester"main engine |  |  |
| one Distilling Flask(125ml) |  |  | one |
| 3 Thermometer (-2-400℃,division 1.0℃) |  |  | one |
| 4 Glass cylinder(100ml,10ml) |  | only | Each 1 |
| 5 | Glass cylinder ④100×240 | only | one |
| 6 weight |  | block | one |
| 7 Rubber plug(4#) |  | only | 2 |
| 8 Thermometer Ring(1#) |  | only |  |
| 9 Fuse 10A (φ5×20) |  | two | 2 |
| 10 Silicon carbide washer(④30,④50,notched) |  | block | Each 1 |
| 11 Power cord |  | The root |  |
| weve Window screen |  | Apiec | e one |

2.Technical documents

(1)Instruction     manual                                                   part

(2)Product   warranty                                                       part