## Slide 1
Seven-inch color
High-resolution touch screen
1024×600 capacitive touch screen,more sensitive operation
0 .00 mg/L
0.0
25.0℃
DO
5.47 pH
90 mv 25.0℃
PH
0.000
μS/cm
25.0℃
COND
Setup About Print Sleep
PH-COND-DO
2021/6/2
UCHEN
1518

## Slide 2
Large capacity storage
2000 sets of measurement data
Data can be transferred via USB flash drive and opened with Excel.
0w00
0.000
5.0r
0. 00
.
5.47

## Slide 3
Automatic calibration
Automatic/manual
temperature compensation
Built-in microprocessor chip
Multiple function settings
and other features
Temperature compensation
Prcow
0.000
a
5.47
,0
Q.0
0.0.
.

## Slide 5
BENCH TESTER
PH meter/Conductivity /
Dissolved oxygen meter
7-inch Color Touch Screen
Automatic/manual temperature
compensation
IP54 Dust and Splash Proof Design
Temperature Large screen Dustproof and Menu Settings Automatic Data storage
compensation display Splashproof calibration

## Slide 6
Model parameters
Model parameters Presented to you in detail

## Slide 7
Product Model | LC-MP-43T(touch screen)
Power Supply | AC220V/50Hz/DC12V1000mA
Display mode | 7inch TFT color LCD display
Conductivity measurement range | 0.00～20.00 μs/cm 20.0~200.0 μs/cm 200～2000 μs/cm 2.00～20.00 ms/cm 20.0～200.0 ms/cm
Conductivity resolution | 0.01/0.1/1μs/cm 0.01/0.1 ms/cm
Conductivity accuracy | Electricity meter. ±0.5FS matching:±1.0FS
Electrode Constant | 0.1/1/10 cm¹
Other parameter measurement range | TDS:(0~100)g/L salinity:(0~100)ppt Resistivity:(0~100)MQ ·cm
PH measuremen range | (-2.000～19.999)pH
PH accuracy | Electrode:±0.002 pH Compatible:±0.01 pH
PH value display accuracy | 0.001 pH
Stability | ±0.01 pH/3h
Input current Input | ≤1×10⁻²A
impedance | >3×10²Ω
MV measurement range | -1999.9mV～0～1999.9mV
Resolution | 0.1mV
Accuracy | ±0.03%FS
Dissolved oxygen measurement range | (0～20.00)mg/L(ppm) (0～200.0)%
Resolution | 0.1/0.01 mg/L(ppm) 1/0.1%
Dissolved oxygen accuracy | Electrode:±0.10mg/L matching:±0.40mg/L
Dissolved oxygen saturation | (0～200.0)%
Saturation resolution | 1/0.1%
Saturation accuracy | ±2.0%FS
Salinity compensation method | Manual
Salinity compensation range | (0～45)ppt
Barometric pressure compensation method | Manual
Barometric pressure compensation range | (0~200)kPa
Temperature compensation function | Automatic/Manual
Temperature compensation range | (0～100)℃
Manual temperature setting | (0～100)℃
Temperature measurement range | (-10～110)℃
Temperature Resolution | 0.1℃
Temperature measurement accuracy | ±0.4℃(5-60℃)±0.8℃(others)
Net Weight | 310g
Product size(L×W×Hmm) | 165×90×32mm

## Slide 8
For placing electrodes Can be rotated according to needs
Lightweight
and convenient
Standard buffer solution
Electrode holder
4.006.869.18

## Slide 9
PACKING LIST DISPLAY
Electrode
Base Host holder
Power adapter
Host base
User manual
pH Conductivity
Electrodes
Dissolved oxygen
electrode cap
Dissolved
Electrodes
User
Manual
Standard buffer
solution
Dissolved
oxygen
filing
solution

## Slide 10
LC-MP-43T(Touch Screen Model)
Conductivity measurement range:
0.00～20.00μs/cm
20.0～200.0μs/cm 200～2000μs/cm
2.00～20.00 ms/cm
20.0～200.0 ms/cm Conductivity accuracy.
Meter:±0.5%FS,Compatible:±1.0%FS
PH measurement range:
(-2.000～19.999)pH
PH accuracy:
Meter:±0.002pH,Compatible:±0.01pH
Dissolved oxygen
measurement range:
(0～20.00)mg/L(ppm)(0～200.0)% Dissolved oxygen accuracy.
Electrode:±0.10mg/L matching:±0.40mg/L
Temperature Compensation
Function:Automatic/Manual
PH/Conductivity/Dissolved Oxygen Three-in-One Meter
Standard electrode
Dissolved oxygen electrode pH electrode conductivity electrode
temperature electrode