## Slide 1
Time adjustment
button(size adjustment)
LRRM- LTIME-
STOP/RUN button
(Long press"three seconds"to turn off and start the
Instrument analysis
Multi directional structural
89
Speed adjustment
button(size
adjustment)
●Sn -dd-4Y
●Sn -dd-6Y
operation panel
type
type
JTEYS-2000
Instrument)
analysis

## Slide 2
Pre programmed speed regulation/timing
Equipped with speed regulation function and time adjustment function,it can simultaneously run one program (SN-DD-4T/6T)
川 书
用

## Slide 3
皿

## Slide 4
Multi connected electric mixer
Intelligent digital display·Permanent magnet DC motor·Stable speed
Low noise,manual lifting function,power-off memory function

## Slide 5
Instrument characteri stics
Multi functional experience
Multiple functions in one
Pre programmed control/spee d regulation
brushless dc motor
Sheet metal spray coating
Intelligent display screen
safety protection
light

## Slide 6
PRODUCT MODEL | SN-DD-4 | SN-DD-6 | SN-DD-4T | SN-DD-6T | SN-DD-4Y | SN-DD-6Y
supply voltage | 220V 50Hz |  |  |  |  | 
Whole machine power | 100Wx4 | 100Wx6 | 220W | 260W | 100Wx4 | 100Wx6
Starting power | <40W |  |  |  |  | 
Display mode |  |  | LCD display |  | LCD display | 
Adjustable speed rpm fange | 200-3000 |  | 200-1800 |  | 300-3000 | 
Mixing capacity | 1000MLx4 1000MLx6 |  | 1000MLx4 | 1000MLx6 | 1000MLx4 1000MLx6 | 
Timing | have |  |  |  |  | 
Timing range min | 0-120 |  | 0-999 |  |  | 
way of working | continuous |  |  |  |  | 
Timed adjustment method | MANUAL |  |  |  |  | 
85oending and dosoonding | Manual lifting |  |  |  |  | 
Mixin paddle | 6MM diameter movable blade stainless steel stirring blade |  |  |  |  | 
Motor type | DC permanent magnet motor |  |  |  |  | 
Net weight KG | 23.5 | 31.5 | 22.5 | 27.5 | 23.5 | 31.5
Product size (LxWxH mm) | 610×280 x700 | 920×280 ×700 | 610×280 ×700 | 920×280 x⁷00 | 610×280 x700 | 920x280 x700

## Slide 7
Intelligent display screen,clear and visible display
content
(SN-DD-4Y/6Y,SN-DD-4T/6T)
Sheet metal spray coating.
exquisite and beautiful
Equipped with manual lifting functionthe instrument can be adjusted up and down,making it more convenient,fast,and labor-saving
Synchronized model with lighting,convenient for experimenters to observe
Intelligent | digital
display Beautiful | appearance

## Slide 8
Pre programmed
control
Speed regulation/timing
Equipped with speed regulation and time adjustment functions,it can
Simultaneously running a program (SN-dd-4T/6T)
Multiple workstations and different programs can also be run
(SN-DD-4Y/6Y,SN-DD-4/6)
SUnnE
a 口 口
m 要
■

## Slide 9
safety protection
Sheet metal spray
coating
The shell adopts sheet metal spray coating,which is more sturdy and safe
Equipped with anti slip pads to protect the experimental container
Equipped with grounding protection device for safer
operation and use

## Slide 10
SUnNE
Power control bution
Lifting platfom
base
handle
Mixing paddle
Manual lifter
operation panel

## Slide 11
Serial Num | ber name | quantity
1 | host | 1 unit
2 | power line | 1 piece
3 | non-slip mat | 4/6 pieces
5 | Certificato of Conformity/Warrant | y Card 1 copy
6 | operation instructions | 1 copy
packing list
Instrument packing list