## Slide 2
厂High-efficiency filtration,RO membrane
purification more thorough
Water Production
Uses advanced filtration technology,RO membrane pore size 0.5-10nm,high-efficiency reverse osmosis,more thorough purification
Concentrated water
Raw water sealing ring
Pure water
Concentrated
Water Channel
RO Membrane
Internal Diagram
Membrane Support Layer
Water Inlet
① ② |  | ③ ④
Product
Parameters
Comprehensive comparison of all series
Pure water machine
LC-UPTC Series
"LED LCD Display,Real-time Status Display
①RO Water Outlet ②UP Water Outlet
③LED digital display screen ④Base foot
*Display model is UPTC10L/H as an example
RO\UP double water outlet
(Meet different water usage needs)
GB/T6682 Level 2 water standard
Membrane surface
Pipe

## Slide 3
UPTC model high cost performance and easy operation |  |  | 
Product Model | UPTC 10L/H |  | UPTC 20L/H
Water yield | 10L/h |  | 20L/h
Display mode | LED digital display |  | LED digital display
Water temperatur requirements | e 5~40℃ |  | 5~40℃
Applicable water pressure | 0.1~0.5Mpa |  | 0.1~0.5Mpa
Water Quality Requirements | TDS<200ppm |  | TDS<200ppm
Water output standa | rd Secondary water |  | Secondary water
RO water output conduct | ivity 2~10μs/cm |  | 2~10μs/cm
UP water output resistivi | ty >10MΩ.cm@25℃ |  | >10MΩ.cm@25℃
Heavy metal ions | <0.1ppb |  | <0.1ppb
Instant water intake volum | e 1.2L/min |  | 1.2L/min
Number of PP filter cartridge | s Two pieces |  | Two pieces
PP filter cartridge specifications | Korean-style integrated design |  | Korean-style integrated design
Number of activate carbon filter cartridg | d es | One | One
Activated carbon filter cartridge specifications | Korean-style integrated design |  | Korean-style integrated design
Number of RO membra | nes One |  | One
RO membrane specificati | 75G ons |  | 100G
Input power | AC 220V/50HZ |  | AC 220V/50HZ
Power | 50W |  | 50W
Product Size (L×W×H) | 280*460*450mm |  | 280*460*450mm

## Slide 4
UPSeries Ulitra-Pure Water Machine ① ② uICHEN | ③ ④
I Ultra-pure Water Machine
LC-UPTA/UPA-L Series
GB/T6682 Grade 1 Water
Standard GB/T33087 Ultra-Pure Water Standard
①RO Water Outlet
③5.1 Inch LCD Screen
*Displayed model is UPTA-10 as an example
②UP Water Outlet
④Function Buttons
10-100L Water Production Optional

## Slide 5
UPTA/UPA-L series for stable water quality professional choice |  |  |  |  | 
Model | UPTA-10 UPTA-20 10L/h 20L/h LCD liquid crystal display 5~40℃ 5~40℃ 0.1~0.5Mpa TDS<200ppm First-level water water y 2~10μs/cm >18.2MΩ.cm@25℃ <10ppb<10ppb <0.1ppb<0.1ppb 1.2L/min 1.2L/min One instrument installed,one g 10 inch 10 inch Two instruments installed,two given 10 inch (One granular activated carbon UDF, _One compressed/sintered activated carbon CTO) One One 75G 100G AC 220V/50HZ 50W 50W 400×490×550mm | UPA-L40L 40L/h 5~40℃ First-level water <5~30ppb 1.2L/min iven 20 inch One 400G 50W | UPA-L60L 60L/h LCD liquid cry 5~40℃ 0.1~0. TDS<2 First-level water 2~10μ >18.2MΩ <5~30ppb <0.1~ 1.2L/min One instrume 20 inch Two instrum 20 i (One granular acti One compressed/sint One 400G AC 220 50W 350×540 | UPA-L80L 80L/h stal display 5~40℃ 5Mpa 00ppm First-level water s/cm .cm@25℃ <5~30ppb 0.2ppb 1.2L/min nt installed,one g 20 inch ents installed,two nch vated carbon UDF, ered activated carbon CTO) Two pieces 400G×2 V/50HZ 50W ×880mm | UPA-L100L 100L/h 5~40℃ First-level water <5~30ppb 1.2L/min iven 20 inch given Two pieces 400G/600G 50W
Water yield |  |  |  |  | 
Display mode |  |  |  |  | 
Water temperature requirements |  |  |  |  | 
Applicable water pressure |  |  |  |  | 
Water Quality Requirements |  |  |  |  | 
Water output standard |  |  |  |  | 
RO water output conductivit |  |  |  |  | 
UP water output resistivity |  |  |  |  | 
Total organic carbon |  |  |  |  | 
Heavy metal ions |  |  |  |  | 
Instant waterr intake volume |  |  |  |  | 
Number of PP filter cartridges |  |  |  |  | 
PP filter cartridge specifications |  |  |  |  | 
Number of activated carbon filter cartridges |  |  |  |  | 
Activated carbon filter cartridge specifications |  |  |  |  | 
Number of RO membranes |  |  |  |  | 
RO membrane specifications |  |  |  |  | 
Input power |  |  |  |  | 
Power |  |  |  |  | 
Product Size (L×W×H) |  |  |  |  | 
First-level

## Slide 6
① ② ③ ④ |  | ⑤ ⑥ ⑦
①7-inch Large Color Touch Screen ②RO Water Outlet ③UP Water Outlet
④ Terminal Filter ③Power switch,USB interface,anti-slip feet
*Displayed model takes UP TPLUS 10L/h as an example
I Ultra-pure Water Machine
UPTPLUS/UPPLUS-L Series
Quantitative customized
water intake
Standard terminal filter
GB/T6682 Grade 1 water
standard,GB/T33087 ultrapure
water standard
Standard USB interface
Data export and printing
Always meet your water output needs
Standard sterile water tank
LICHEN

## Slide 7
UPTPLUS/UPPLUS-L model one intelligent touch screen fully equipped |  |  |  | 
Product Model | UPT PLUS UPT PLUS 10L/h 20L/h 10L/h 20L/h Touch Screen Display 5~40℃ 5~40℃ 0.1~0.5Mpa TDS<200ppm First-level First-level |  | UP PLUS-L 40L/h 40L/h 5~40℃ First-level water <5~30ppb 1.2L/min iven | UP PLUS-L UP PLUS-L UP PLUS-L 60L/h 80L/h 100L/h 60L/h 80L/h 100L/h Touch Screen Display 5~40℃ 5~40℃ 5~40℃ 0.1~0.5Mpa TDS<200ppm First-level First-level First-level water water water 2~10μs/cm >18.2MΩ.cm@25℃ <5~30ppb<5~30ppb <5~30ppb <0.1~0.2ppb 1.2L/min 1.2L/min 1.2L/min One instrument installed,one given
Water yield |  |  |  | 
Display mode |  |  |  | 
Water temperature requirements |  |  |  | 
Applicable water pressure |  |  |  | 
Water Quality Requirements |  |  |  | 
Water output standard |  |  |  | 
 | y | water water 2~10μs/cm |  | 
RO water output conductivit |  |  |  | 
UPwater output resistivity | >18.2MΩ.cm@25℃ <10ppb <10ppb <0.1ppb<0.1ppb 1.2L/min 1.2L/min One instrument installed,one g 10 inch 10 inch Two instruments installed,two give 10 inch (One granular activated carbon UDF, One compressed/sintered activated carbon CTO) Three Three pieces pieces 75G 100G |  |  | 
Total organic carbon |  |  |  | 
Heavy metal ions |  |  |  | 
Instant water intake volume |  |  |  | 
Number of PP filter cartridges |  |  |  | 
PP filter cartridge specifications |  |  | 20 inch n Three pieces 400G/600G | 20 inch 20 inch 20 inch Two instruments installed,two given 20 inch (One granular activated carbon UDF One compressed/sintered activated carbon CTO) Three pieces Three pieces Three pieces 400G/600G 400G/600G 400G/600G
Number of activated carbon filter cartridges |  |  |  | 
Activated carbon filter cartridge specifications |  |  |  | 
Number of RO membranes |  |  |  | 
R0 membrane specifications |  |  |  | 
Input power | AC 220V/50HZ 50W 50W 400×490×550mm |  | 50W | AC 220V/50HZ 50W 50W 50W 350×540×880mm
Power |  |  |  | 
Product Size (L×W×H) |  |  |  | 

## Slide 8
RO/DI/UP three water quality options
Stable water quality and compact design,ideal for high-quality laboratory requirements
40kg
VS
①
②
③
④
GB/T6682 Grade 1 water
standard,GB/T33087
ultrapure water standard
Extremely short thread design
Ensures clean and stable water quality
①LCD Liquid Crystal Touch Screen ②UP Water Outlet
③DI/RO Water Outlet ④Terminal Filter
*Model shown is LC-UPM-DU60 as an example
NSF Certified,reduces TOC leaching
Piping and fittings are NSF certified,greatly reducing TOC
leaching from the system and ensuring ultrapure water quality.
Ultra-pure
water machine
UPM Series
SSFtatoraasiad
OFPICIAL LISTING
at
二
/P ·*

## Slide 9
Packing list
LC-UPTC Series
High-pressure barel
LICHEN
10-inch PP filter element
10-inch coconut shell activated carbon
10-inch compressed 3.2G high-pressure Pre-filter device Host
activated carbon barrel
2-way plastic tube
2-way plastic tube
Wire plug PTFE raw material tape
UPTA Series
Filter housing wrench(10 inch)
UPTA系列纯*机
Manual/Certificate Power Cable PTFE raw material tape
4-to-2 quick Inlet tee+ball valve connector
High-pressure Inlet tee+ball valve barrel ball valve
Manual/Certificate of conformity
4-way to 2-way quick
connector
High-pressure
barrel ball valve
of conformity
Wire plug
(4 points)
Power Cable
Host

## Slide 10
UPM Series
Certificate of
Quality/Warranty Card
Host
Terminal filter
(exoludingiC-UPM-RR80
/LC-UPM-RD15)
Filter housing PP filter Host
wrench(10 inch) element
CS那纯水机
CS series
PTFE raw material tape Wire plug
Host
(LC-UPM-RR30)
(LC-UPM-RD15 LC-UPM-DU60
LC-UPM-RU15
LC-UPM-RRU15)
Manual/Certificate of
4-to-2 quick connector
Installation Accessory Kit
Inlet tee +ball valve
A2-grade plastic hose
conformity
Power Cable
User Manual
Power Cable

## Slide 11
UPTC10L/H(Secondary Water Use)
Laboratory Ultra-Pure Water Machine
Water Production:10L/h
Inlet Water:City Tap Water TDS<200ppm
(If exceeding 200,softener needed)
Water outlet water quality:
UP.>10MQ.cm@25C(Meets secondary water standards) RO:2~10us/cm(Better than tertiary water)
Heavy metal ions:<0.1ppb
Instantaneous water intake:1.2L/min
Applicable water pressure:0.1~0.5Mpa
Power:50W
Product size:280*460*450mm
Net Weight:15kg

## Slide 12
UPTC20L/H(Secondary Water Use)
Laboratory Ultra-Pure Water Machine
Product water output:20L/h
Inlet Water:City Tap Water TDS<200ppm
(If exceeding 200,softener needed)
Water outlet water quality:
UP.>10MQ.cm@25C(Meets secondary water standards) RO:2~10us/cm(Better than tertiary water)
Heavy metal ions:<0.1ppb
Instantaneous water intake:1.2L/min
Applicable water pressure:0.1~0.5Mpa
Power:50W
Product size:280*460*450mm
Net Weight:15kg

## Slide 13
Inlet Water:City Tap Water TDS<200ppm
(If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water
Pure water 1.5L/min
yield:
Ultrapure water 1.2L/min
Water outlet water quality
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
lo rganic <10ppb
Microrganisms? <1CFU/ml
Particles:<1/ml(>0.22um)
Heavy metal ions:<0.1ppb
Product size:400×490×550mm
Net weight:35kg
n:
O
Carb
Tota
Laboratory Ultra-Pure Water Machine
Water Production:10L/h
UPTA10L/H(Primary Water Use)
UP Series
Ultra-Pure
Water Machine
LICHEN
e
页 p

## Slide 14
UP Series
Ultra-Pure
Water Machine
Water
LICHEN
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <10ppb
Microorganisms: <1CFU/ml
Particles:<1/ml(>0.22um)
Heavy metal ions:<0.1ppb
Product size:400×490×550mm
n:
O
Ca
To
Laboratory Ultra-Pure Water Machine
Product water output:20L/h
Inlet Water:City Tap Water TDS<200ppm
(If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
UPTA20L/H(Primary Water Use)
Pure water 1.5L/min
Ultrapure water 1.2L/min
quality.
Instant water
yield:
Water outlet water
Net weight:35kg

## Slide 15
Laboratory Ultra-Pure Water Machine
Water production:40L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Miroorganisms? <1CFU/ml
Particles:<1/ml(>0.22μm)
Heavy metal ions:<0.1~0.2ppb
Product size:350×540×880mm
Net weight:45kg
n:
O
Ca
To
UPA-L40L(Primary Water Use)

## Slide 16
Laboratory Ultra-Pure Water Machine
Water production:60L/h
Inlet Water:City Tap Water TDS<200ppm
(If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Microorganisms:<1 CFU/ml
Particles:<1/ml(>0.22um)
Heavy metal ions:<0.1~0.2ppb
Product size:350×540×880mm
Net weight:45kg
n:
O
Ca
To
UPA-L60L(Primary Water Use)

## Slide 17
Laboratory Ultra-Pure Water Machine
Water production:80L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Microorganisms? <1CFU/ml
Particles:<1/ml(>0.22μm)
metal ions:<0 1~0 2ppb
n:
O
Ca
To
UPA-L80L(First-grade water)
Heavy . .
Product size:350×540×880mm
Net weight:45kg

## Slide 18
Laboratory Ultra-Pure Water Machine
Water production capacity:100L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Miroorganisms? <1CFU/ml
Particles:<1/ml(>0.22μm)
Heavy metal ions:<0.1~0.2ppb
Product size:350×540×880mm
Net weight:45kg
n:
O
Ca
To
UPA-L100L(Primary Water Use)

## Slide 19
Water Production:10L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ·cm @25℃(Meets first-class water standards) RO:2~10us/cm(Better than tertiary water)
t l rganic <10ppb
Microorganisms? <1CFU/ml
Particles:<1/ml(>0.22μm)
Heavy metal ions:<0.1ppb
Product size:400×490×550mm
on:
O
rb
a
a
o
C
T
UPTPLUS10L/h (First-class water usage)
Laboratory Ultra-Pure Water Machine
Net weight:35kg

## Slide 20
Product water output:20L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality.
UP.>18.2MQ·cm @25℃(Meets first-class water standards) RO:2~10us/cm(Better than tertiary water)
Particles:<1/ml(>0.22μm)
Heavy metal ions:<0.1ppb
Product size:400×490×550mm
UPTPLUS20L/h(First-class water)
Laboratory Ultra-Pure Water Machine
<10ppb
<1CFU/ml
Total Organic
Carbon:
Microorganisms?
Net weight:35kg

## Slide 21
Laboratory Ultra-Pure Water Machine
Water production:40L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Microorganisms:<1 CFU/ml
Particles:<1/ml(>0.22um)
Heavy metal ions:<0.1~0.2ppb
Product size:350×540×880mm
Net weight:45kg
n:
O
Ca
To
UPPLUS-L40L/h(First-grade water)

## Slide 22
Laboratory Ultra-Pure Water Machine
Water production:60L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outlet water quality
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Microorganisms:<1 CFU/ml
Particles:<1/ml(>0.22um)
Heavy metal ions:<0.1~0.2ppb
Product size:350×540×880mm
Net weight:45kg
n:
O
Ca
To
UPPLUS-L60L/h(First-class water use)

## Slide 23
Laboratory Ultra-Pure Water Machine
Water production:80L/h
Inlet Water:City Tap Water TDS<200ppm (If exceeding 200,softener needed)
Applicable water pressure:0.1~0.5Mpa
Instant water yield:Pure water 1.5L/min
Ultrapure water 1.2L/min
Water outet water quality
UP.>18.2MQ.cm@25C(meets Grade 1 water) RO:2~10us/cm(Better than tertiary water)
tr lo rganic <5~30ppb
Microorganisms:<1 CFU/ml
Particles:<1/ml(>0.22um)
metal ions:<0 1~0 2ppb
n:
O
Ca
To
UPPLUS-L80L/h (First-level water usage)
Heavy . .
Product size:350×540×880mm
Net weight:45kg

## Slide 24
Water Production Rate: 10L/h
Inlet Water Quality Drinking Tap Water "National Standard Standard: GB5749-2022"
c sure: 0.25Mpa<P<0.5Mpa
Chinese National Standard:GB/T6682-2008 and Sichuan Grade Water Outlet Water Quality Standard: ·American Pathology CAP Level 1 (Reach or New pure water standardGB/T33087-2016 exceed) "Specifications and Test Methods for High Purity Water
RO outlet water ≤10.0μs/cm@25℃ conductivity:
UP outlet water >18.2MΩ ·cm@25℃ resistivity:
t t sw:ater heavy <0.1ppb
UP outlet water micro ≤1 per mililiter particles:
Total Organic Carbon (TOC):≤10ppb
Product Size: 248×450×565mm (L×W×H)
o
e
i
l
al
ou
me
UP
s
e
e
l
p
a
wate
Appl
LC-UPS-RU10
Desktop Ultra-Pure Water Machine
for Instrument Analysis"

## Slide 25
it roduction 20L/h | 
Inlet Water Quality Drinking Tap Water "National Standard Standard: GB5749-2022" | 
c sure: 0.25Mpa<P<0.5Mpa | 
outlet Water (Reach or exceed) | Chinese National Standard GB/T6682-2008 and Sichuan Grade Water Quality Standard:American Pathology CAPLevel 1 New pure water standard GB/T33087-2016 "Specifications and Test Methods for High Purity Water fo Instrumental Analysis"
RO outlet water ≤10.0μus/cm@25℃ conductivity: | 
UP outlet water >18.2MΩ ·cm@25℃ resistivity: | 
t t sw:ater heavy <0.1ppb | 
UP outlet water micro ≤1 per mililiter particles: | 
Total Organic Carbon(TOC):≤10ppb | 
Product Size: (L×W×H) 248×450×565mm | 
o
e
i
l
al
ou
me
UP
s
e
e
l
p
a
wate
Appl
y
P
Capac
Water
 | LC-UPS-RU20
Desktop Ultra-Pure Water Machine | 

## Slide 26
Water Production Rate: 40L/H |  | 
Water tank 20L |  | 
Inlet Water Quality Drinking Tap Water "National Standard Standard: GB5749-2022" |  | 
c sure: 0.25Mpa<P<0.5Mpa |  | 
Water quality (Reach or exceed) | Chinese National Standard GB/T6682-2008 and Sichuan standardAmerican College of Pathologists CAP.Level 1 New pure water standard GB/T33087-2016 "Specifications and Test Methods for High Purity Water fo Instrument Analysis" | 
UP outlet water ≥18.2MΩ ·cm@25℃ resistivity. |  | 
UP outlet water micro ≤1 per mililiter particles: |  | 
UP outlet heavy metal content: |  | ≤0.1ppb
RO membrane 400G specifications: |  | 
Product Size: 380×550×1100mm (L×V×n) |  | 
s
e
e
l
p
a
wate
Appl
LC-UPS-U40
Floor-standing ultra-pure water
machine
capacity.
Grade Water

## Slide 27
Water Production Rate: 60L/H |  | 
Water tank capacity. |  | 40L
Inlet Water Quality Drinking Tap Water "National Standard Standard: GB5749-2022" |  | 
c essure: 0.25Mpa<P<0.5Mpa |  | 
Chinese National Standard.GB/T6682-2008 and Sichuan Water quality standard:.American College of Pathologists CAP.Level 1 |  | 
(Reach or exceed) | New pure water standard GB/T33087-2016 "Specifications and Test Methods for High Purity Water for Instrument Analysis' | 
UP outlet water resistivity. | ≥18.2MΩ-cm@25℃ | 
UP outlet water micro ≤1 per mililiter particles: |  | 
UP outlet heavy metal ≤0.1ppb content: |  | 
e ons: 100G,400G |  | 
Product Size: (L×W×H) | 440×715×1190mm | 
cificati
membrane
sp
RO
e
l
p
a
wate
Appl
LC-UPS-U60
Floor-standing ultra-pure water
machine
Grade Water

## Slide 28
Water Production Rate: 80L/H |  | 
Water tank capacity. |  | 40L
Inlet Water Quality Drinking Tap Water "National Standard Standard: GB5749-2022" |  | 
c essure: 0.25Mpa<P<0.5Mpa |  | 
Chinese National Standard GB/T6682-2008 and Sichuan Grade Water Water quality standard:American College of Pathologists CAP Level 1 |  | 
(Reach or exceed) | New pure water standard GB/T33087-2016 "Specifications and Test Methods for High Purity Water for Instrument Analysis | 
e v r ≥18.2MΩ-cm@25℃ |  | 
UP outlet water micro ≤1 per mililiter particles: |  | 
te u:tlet heavy metal ≤0.1ppb |  | 
RO membrane 2×400G specifications: |  | 
Product Size: (L×W×H) 440×715×1190mm |  | 
nt
o
co
U
y
te
t
a
i
w
i
t
t
l
is
ut
s
o
e
P
r
U
e
l
p
a
wate
Appl
LC-UPS-U80
Floor-standing ultra-pure water
machine

## Slide 29
CS-10 3atec usdary
Laboratory Ultra-Pure Water Machine
Water Production:10L/h
Pure water output:10L/H
(Varies with source water temperature from 10℃ to 30℃)
Water temperature
requirement:5~40℃
Applicable water pressure:≥0.1Mpa(1kg)
Water quality standard
Better than laboratory secondary water(≤0.6us/cm)
Product dimensions:540*350*860mm
Net weight:40kg

## Slide 30
CS-20B3(Secondary
Water Use)
Laboratory Ultra-Pure Water Machine
Product water output:20L/h
Pure water output:20L/H
(Varies with source water temperature from 10℃ to 30℃)
Water temperature
requirement:5~40℃
Applicable water pressure:≥0.1Mpa(1kg)
Water quality standard
Better than laboratory secondary water(≤0.6us/cm)
Product dimensions:540*350*860mm
Net weight:40kg