## Slide 1
Built-in ultraviolet sterilization lamp for disinfection
Duringthe homogenization process,the samplescan bedisinfected and sterilized without any blind spots.
注 意 事 项
I0
a2h
1

## Slide 2
Large-screen color touch screen
LiChen Genuine
Products
M
亡
Clapboard
Mirror-finish stainless steel safety door
(detachable)
r
Tempered glass
observation
window
Backside powerswitch /powerinterface
High-quality metal casing
Anti-slip footrest
Removable door handle
Airintake port
1

## Slide 3
The knob for adjusting the clapper plate
The fuselage is equipped withcoofing devices on three sides.
Ersure that the mschine can be used for a long time withoutay problem.
The sample quality will not be affected by the fever.
Multiple security protections
The3-hole international safety powercord isequipped with a safety fuse,ensuringa more
stable current and greater safety.

## Slide 4
注意事项 i58v
内 N . 二 L
Ws spw
连急亭项
aa.N8
32Mm₂85 2545E3.3
惠空豆无
110】
11
编热
⁵
r
Q/

## Slide 5
Large-screen color touch screen
非
Safety
anti-pinch
function
Intelligent voice alarm
K
Ultraviolet sterilization function
Adjustable
striking
dstance
88
Multi-segment combined
programming

## Slide 6
PRODUCT MODE | L LC-PJ-400 | LC-PJ-400M | LC-PJ-400GM
control mode | Microprocessor |  | 
Parameter storage | 8-segment combination |  | 
display | Large screen color touch screen display |  | 
Strike time | 0.1-99 minutosand 50 soconds or continuous oporation |  | 
Strike speed | 3-12 times/second |  | 
Heating function | / | / | have
Temperature rangp | / | / | B88tamperature (Limit 80℃)
Disinfection fundtion | / | have | have
Disinfection wavelingth | / | 253.7MIN | 253.7MIN
Voice alarm | have |  | 
Effective volume | 3-400ml |  | 
Aseptic bag size | 17cm*30cm |  | 
Tap the box | Stainless stoel+anti-corrosion Bpray coating |  | 
Strike spacing | 0-50mm adjustable |  | 
Start Mode | soft start |  | 
Pause function | have |  | 
power supply | 220V/50HZ |  | 
power | 200W | 200W | 500w
Anti pinch function | Automatio stop anti pinch function |  | 
External dimensions | 420X230X330mm |  | 
Instrument weight | 18kg | 18kg | 19kg
Technical Parameter

## Slide 7
Project Number 0 Runing time
Oh Om Os
☑ heatinge
set time
V sterilize accelerate moderate
Oh 1m Os
Set upper temperature limit
40°c
Current temperature
16℃
Intelligent control system,large soreen high-definition display,multi
segment combination programming runningtime can be freely set,0.1-99 minutes and 59 seconds or continuous operation,each segment can be set 3-12 times/second,real-time display of working status
u
Large screen color touch screen
display
speed set status
6.0/S
Multi project operation

## Slide 8
● Mirror stainless steel
●tempered glass
● The door handle is detachable
● Built in photoelectric sensor
●Open the safety door and automatically stop working
Mirror stainless steel safety
door

## Slide 9
Instrument List
Door openinghandle
Fuse 3A 然
maaa neoding
二
-
u
Sterile homogeneo
bag(50
pieces/pack)
Instruction manual
certificate(including
warranty card)
power line
precautign
122
r
甲
host

## Slide 10
precautions
The power plug must be securely plugged in,any looseness may affect the computer controllerand cause it to crash.Ifa crash occurs,please turn off the rear power switch and restart after 3minutes of shutdlown
The bottom of the homogenizer door is designed to be empty to prevent accidental
rupture of the homogenizer bag and facilitate cleaning of spilled material.A water tray can be placed at the bottom,so please do not insert your hands from the bottom during instrument operation to avoid finger injury
When the quantity is small and the speed needs to be increased,or when the fibers of the
homogeneous material are tough,the distance between the tapping plate and the visibla window can be adjusted with the knob at the back to achieve batter homogenization effiact
The storage of instruments and homogenization bags should avoid direct sunlight,especially
the homogenization bag should be stored in a place without sunlight or away from ultraviolet
radiation to prevent aging
Hard lumps,bone liko,and iey substances should not bo used to avoid damaging the homogenaous bag
If the instrument is not usod for a long time,the power ahould be ou off and the plug should be unplugged
Pla⁹e.do not onan the homogenizer door casually while working on the hammer plate to provent the samplo
liquid from ovorlowing
i o fP i e i l must bo turned on bya profossionaloloctrician.Bofore turning it on,bo suro to
y
e
p
n
up
ch
r
m
w
u
o
h
e p
f t
t
t
oc
vo
sc
ho
d
T