## Slide 3
 | WYA-3S WYA-2S
Measuring (ND) | 1.30000-1.72000 1.3000-1.7000
range (BRIX) | 0-100% 0-100%
Indication (ND) | ±0.0002 ±0.0002
Error (BRIX) | ±0.1% ±0.1%
(ND) | 0.00001 0.0001
Resolution (BRIX) | 0.01% 0.1%
Built-in measurement mode | 8
Temperature display range | -20-120℃ 0-50℃
Display mode | Color LCD touch screen Liquid crystal
Communication interface | RS232/USB RS232
Data storage | 500 sets
Power Supply | 220V±22V,50HZ±1HZ 220V±22V,50HZ±1HZ
Instrument size(mm) | 330×180×380 330×180×380
Instrument net weight | 10KG 10KG
Product Parameters

## Slide 4
Powerinteface
Hard glass prism
Corrosion-resistant,scratch-resistant,longer service life
RS232 interface

## Slide 5
Product Details
1.
Backlit LCD
Show, Temperature
Correction
Hard Glass Prism
Corrosion Scratch
protection, resistance
00000
Br8: TemP:
000 135
WYA-2S Digital
饮 电 轴 * Abbe Refractometer
nD:
B2-TC:
000
TEMP
no BRX
READ
BX-TC

## Slide 6
3.
External constant
temperature water bath
Interface,meet not
Measurement at the same temperature
Measurement
4.
Movable Spotlight
Parts,easy to adjust
Operations

## Slide 7
5.
Consists of
Visual binoculars Components and
dispersion correction Main components, The interface
is clearer
Product List
Product bottom display

## Slide 8
 |  | 1 |  | 
 |  | 1 |  | 
 | A9 |  |  | 
 | ** |  |  | 
 | 85 |  |  | 
 | 99* |  |  | 
丝 |  |  |  |