## Slide 1
b ice
二
o
Fine Adjust
LPG Valve
Adjust 三

## Slide 2
Detailed analysis
Flame photometer detailed parts explanation WORK STRESS
4
“
INESA
上海恒中
Air inlet and
Liquefied gas pipeline
Pressure
adjustment knob
LCD touch screen
Display
Screen
-0bservation
window
Sampling
tube
Adjust the flame size switch
Ignition switch

## Slide 3
Model |  | FP6410 | FP640 | 6400A
Display results |  | Concentration Value | Light intensity | 
Reading range |  | 0.000～999.9 | 0.000～999.9 | 0000～9999
Detection limit ppm | Potassium | ≤0.01 |  | 
 | Sodium | ≤0.01 |  | 
Linear error mmol/L | Potassium | ≤0.005 mmol/L |  | 
 | Sodium | ≤0.03 mmol/L |  | 
Detection range ppm | Potassium | 0-100 |  | 
 | Sodium | 0-100 |  | 
Printing function |  | Optional | O | O
Printer Type |  | Built-in thermal printer | O | O
USB data output |  | ● | ● | O
Linear regression automatic calculation |  | ● | O | O
Host size |  | 400mmx250mmx500mm |  | 
Net Weight |  | 8kg |  | 
Power Supply |  | AC200V±22V,50Hz±1Hz.250W |  | 
Adjust the pressure value knob
---Pressure
gauge
Air pump
interface
Filtered air tube
Waste liquid discharge port
Liquefied gas interface

## Slide 4
Model |  | FP6450 |  | FP6440 | FP6431 | FP6430
Test Elements |  | Potassium,Sodium,Lithium,caleium, Barium |  | Potassium,Sodium,Lithium, Calcium | Potassium, Sodium, | Potassium, Sodium,
Number of channels |  | 5 |  | 4 | Calcium Lithium | 
Detection limit ppm | Potassi | um ≤0.01 |  |  |  | 
 | Sodium | ≤0.01 |  |  |  | 
 | Lithium | ≤0.025 |  |  |  | ≤0.025
 | Calcium | ≤0.01 |  |  |  | O
 | Barium | ≤10 |  |  |  | 
Linear error mmol/L | Potassi | um ≤0.005 |  |  |  | 
 | Sodium | ≤0.03 |  |  |  | 
 | Lithium | ≤0.021 |  |  |  | ≤0.021
 | Calcium | ≤0.075 |  |  |  | O
 | Barium | ≤0.066 |  |  |  | 
Detection range ppm | Potassi | um 0-100 |  |  |  | 
 | Sodium | 0-100 |  |  |  | 
 | Lithium | 0-100 |  |  |  | 0-100
 | Calcium | 0-100 |  |  |  | O
 | 钡 | 0-3000 |  |  |  | 
Host size |  |  | 400mmx250mmx500mm |  |  | 
Net Weight |  |  | 8kg |  |  | 
Power Supply |  |  | AC200V±22V,50Hz±1Hz.250W |  |  | 
3

## Slide 5
Product List
Flame Photometer Inventory List
回
G vahe
INESJA
Shanghai Only Electric
:
DETAILED LIST
fe Adjust

## Slide 6
l Flame Photometer IProduct user manual
MJNJA 月 Co
Aame Photometer
Packing list
5iSSCF
compressor
Product Card
Annex
Platform
Host
FX 1704377
业
Warrao
口

## Slide 7
Duo-element:KNa
6400A

## Slide 8
Two elements:KNa
FP640
Yidian Analytical Instruments

## Slide 9
Diatomic elements:KNa
FP6410
Yidian Analytical Instruments

## Slide 10
Four elements:K,Na,Li,Ba
FP6440
Yidian Analytical Instruments

## Slide 11
K Na Li Ca Ba
Potassium Sodium
Lithium Calcium Lock
FP6450
Fine Aa
G
by
Five
Elements
Yidian Analytical Instruments

## Slide 12
Three elements:K,Na,Li
FP6430
Yidian Analytical Instruments

## Slide 13
FP6410 with Printer
Duo-element:KNa
Yidian Analytical Instruments

## Slide 14
Three Elements:K Na Ca
FP6431
Yidian Analytical Instruments