## Slide 2
Featured Features
Equipped with a visual window
Mult sample processing
Digital tube display
Simple operation
Timed shutdown
intelligent control

## Slide 3
Power
Stop button button
Control Panel
Visible
window
Body of the
aircraft
Pull handle
Foot mat

## Slide 4
Model number | Ic-pbm-0.41 | LC-PBM-6L | LC-PBM-12L
Input power supply | 220v/50hz |  | 
Rated Power(KW) | 0.75 | 1.5 | 
Rotationalspeed (RPM/min) | 35-435. | 35-335. | 35-290.
Rotation speed (RPM/min) | 70-870. | 70-670. | 70-580.
Total running time(min) | 0-3600. |  | 
Display mode | LED digital tube |  | 
Display content | Voltage,rotational speed,frequency,current |  | 
Sampling particle size (um) | 0.1 |  | 
Ball mill tank capacity (in mj | 50-100. | 250-1500. | 500-3000.
Ballmilltank station | 4 | 4 | E
Processing capacity (ml) | Undernormalcircumstances,the ratio of ballsto materialsin the ball millshould be asclose to 1:las possible,and the totalvolumeof the balls and materialsshould beno lessthan1/3of the totalvolume of the ball mill,and no more than 2/3of the totalvolume of the ball mill. |  | 
Grinding method | Dry grinding/Wet grinding |  | 
Net weight(kg) | 33 | 93 | 186
Product dimensions (cm) | 53×30×37 | 77×50×58岁 | 90×60×64
Note:The ball milltankis an optional item.For details,please contact the customer service.

## Slide 5
4 cans with high grinding efficiency
Simultaneously process 4 types of samples
There are 4 grinding can holders on the work disk,which is highly efficient

## Slide 6
The grinding process is carried out in a fuly enclosed ball mill jar to avoid cross contamination and improve grinding efficiency.The minimum particle size of the
ground product can reach 0.1 microns
Stable rotation
speed and meticulou
s grinding

## Slide 7
three phase asynchronous Motor
Variable frequency speed regulation has low energy consumption
Adopting three-phase asynchronous motor,
variable frequency speed regulation has low
energy consumption and a wide range of

## Slide 8
Heat dissipation
hole
Easy to dissipate heat from the
motor
The appearance adopts sheet metal spray coating,with heat dissipation holes on the back for easy motor heat dissipation and extended service life
Linear ball machine
7
4 Le
怒
Facilitate motor
Motor cooling
N
P5c
48
aP
#

## Slide 9
Lubricating
grease
Power cord
Certificate of Conformity, User Manual Warranty Card
Packinglist display
lc-pbm-0.4l
Clamping device
Host machine
Drive belt