## Slide 1
Double-sided/four-sided lighting options
Level 6 dimming,light intensity 10,000 lux/18,000 lux
optional,top lighting function,waterproof high
brightness
Potato
Level 6
dimming
Stable illuminance

## Slide 2
Ultrasonic
humidification」
Fine mist,efficient humidification
The CPU microprocessor
performs control with high
precision and good stability.

## Slide 3
LCD Liquid Crystal
Display 」
High-definition display,
energy-saving and power-efficient
Embedded instrument panel,easy to operate with timer,temperature control,and humidity control
Cycle:01 Time:0000 Step:0 /01l
4.5.3
C %RH
Heat Fan
Gycde:0 I Tme:00009mp:0V⁰
4.5.848.5
PV
Cooling indicator Alarm indicator light light
300."700
SV SV
Lighting indicator Fan indicator light
%RH

## Slide 5
Temperature 5~60℃ control range: | 
Illumination intensity.0~10,000 Lux (6 adjustable levels) | 
Number ofilluminated surfaces: | 2 sides
Humidity 50%~90%RH control range: | 
Power: 400W | 
Studio dimensions:350×400×500mm | 
Effective 70L volume: | 
Product Size: 575×555×1170 mm | 
LC-QHX-70T
Artificial climate chamberr

## Slide 6
Temperature 5~60℃
Illumination intensity.0~10,000 Lux (6 adjustable levels)
Number ofilluminated 2 sides surfaces:
Humidity 50%～90%RH control range:
Power: 600W
Studio size:4400×500×750 mm
Effective 150L volume:
Product Size:625×655×1420mm
LC-QHX-150T
Artificial climate chamber
control range:

## Slide 7
Temperature 5~60℃
Illumination intensity.0~10,000 Lux (6 adjustable levels)
Number ofilluminated 2 sides surfaces:
Humidity 50%～90%RH control range:
Power: 800W
Workspace size:500×550×900 mm
Effective 250L volume:
Product Size: 740×705×1560mm
LC-QHX-250T
Artificial climate chamberr
control range:

## Slide 8
Temperature 5~60℃ control range: | 
Illumination intensity.0~10,000 Lux (6 adjustable levels) | 
Number ofilluminated 2 sides surfaces: | 
Humidity 50%～90%RH control range: | 
Power: 900W | 
Studio size:600×600×1000mm | 
Effective volume: | 360L
Product Size:835×755×1695 mm | 
LC-QHX-360T
Artificial climate chamber

## Slide 9
Temperature 5~60℃ control range: | 
Illumination intensity.0~10,000 Lux (6 adjustable levels) | 
Number ofilluminated surfaces: | 2 sides
Humidity 50%～90%RH control range: | 
Power: 1000W | 
Studio dimensions:650×650×1100mm | 
Effective 460L volume: | 
Product Size:885×805×1795 mm | 
LC-QHX-460T
Artificial climate chamberr

## Slide 10
Temperature 5~60℃ control range: | 
Illumination intensity.0~10,000 Lux (6 adjustable levels) | 
Number ofilluminated surfaces: | 2 sides
Humidity 50%～90%RH control range: | 
Power: 1200W | 
Studio dimensions:680×800×1100mm | 
Effective 600L volume: | 
Product Size: 920×955×1795 mm | 
LC-QHX-600T
Artificial climate chamber

## Slide 11
Temperature 5~60℃ control range: | 
Light intens t~y1.8000 Lux ( | (6 levels adjustable)
Number of illuminated 4 sides surfaces: | 
Humidity 50%~90%RH | 
Power: 900W | 
Workspace size:5500×500×750 mm | 
Effective 180L volume: | 
Product Size:750×850×1525mm | 
LC-QHX-180F
Artificial climate chamber (strong light type)
control range:

## Slide 12
Temperature 5~60℃ control range: | 
Light intensi0t 8000 Lux ( | (6 levels adjustable)
Number of illuminated 4 sides surfaces: | 
Humidity 50%~90%RH | 
Power: 900W | 
Workspace size:5500×500×750 mm | 
Effective 180L volume: | 
Product Size:750×850×1525mm | 
LC-QHX-180F
Artificial Climate Chamber
(Bright Light Type)
control range:

## Slide 13
2
▲
△
A
Temperature 5~60℃ control range: | 
Light ( | intensity. 0~18000 Lux (6 levels adjustable)
Number of illuminated 4 sides surfaces: | 
Humidity 50%~90%RH control range: | 
Power: 1100W | 
Studio size:600×600×1000mm | 
Effective 360L volume: | 
Product Size: 850×945×1775 mm | 
LC-QHX-360F
Artificial climate chamber (strong light type)

## Slide 14
Temperature 5~60℃ control range:
Light Intensity.o~18000 Lux(6 levels adjustable)
Number of illuminated 4 sides surfaces:
Humidity 50%~90%RH control range:
Power: 1200W
Studio Size:600×650×1100mm
Effective 460L volume:
Product Size:845×1000×1875 mm
Artificial Climate Chamber
(Bright Light Type)
LC-QHX-460F

## Slide 15
Temperature 5~60℃ control range: | 
Illumination intensity:0~18000Lux(6 adjustable levels) | 
Number ofilluminated surfaces: | 4 sides
Humidity 50%~90%RH control range: | 
Power: 1300W | 
Studio dimensions:680×800×1100mm | 
Effective 600L volume: | 
Product Size:950×1140×1920 mm | 
Artificial climate chamber
(strong light type)
LC-QHX-600F