Detail

presentation

01.

Touch LCD /

10.4  inch  working  colortouchscreen, intuitive   display,intuitive   control

03.

Searchable  print

Support   recent   experimental data  storage,and  print  data

02.

Viewable  large  window

View processes at any time

Field of use-Product use

It is mainly used forthe determination of total sulfurcontent of coal,heavy oiland othersubstances

electricity

Scientific

research

Various  minerals

Coal    detection

Stone      heating

MICrOcomputer model

Touchscreen version

Sample chain

Dryingpipe flowmeter    Electrobytic

Digital touchscreen

cell

1

TE

printer

USB interface

Power switch

| Model number | 24 kinds of microcomputer automatic sulfur meter | 24 kinds of touch screen automatic sulfur meter |
| --- | --- | --- |
| Neruingrange | 0.01%-60%,resolution 0.01 0.01%-60%,resolution 0.01(optional0.001grade) |  |
| Single maximum lofting twenty-four |  | 24 PCS(optional20-30 PCS) |
| Analysis time Hutomaticaly determine the end point of the experiment habout hutomaticaly determine the end point ofthe experiment tgeneray³-45 5minutes/time) m nutes/sample |  |  |
| Warming time | Ambient temperature start 15-25minutes | Ambient temperature Start15-25 minutes 700C-1190℃,the target temperature can be set freely(ultra-low temperature is optional |
| Temperature 700℃-1190℃,the target temperature can be set freely contro |  |  |
| Precision Temperature | ±2.5℃ |  |
| controiPoweF supply | 220V±20V,50Hz cracking furnace instantaneous maximum power s2.5Kw |  |
| Sample quaity | Support quality input range from 10mg to 999.9mg |  |
| accuracy | In line with the national standard GBT214-2007 standard sample allowable error range |  |

| High degree of automation | 明 |
| --- | --- |
| Microcomputer model&Touch screen model |  |

自动化程度高

Automatic control of stirring start and stop and speed;Automatic   control of the gas circuit to automatically determine the end of the experiment

● Adopt high-precision power transmission principle,precise control,eliminate the card sample using long-life air

pump,stable working  performance,adaptive  resistance value of silicon carbide tube,longer life

24 touch screen models

Supports  the  "continuous  rolling"     storage of 2000 recent experimental data

With experimental data export function,to realize the custom printing of reports(microcomputer upgrade  version is optional)

Safe   and    reliable|durable|precise    control

I

Packing list

24 microcomputer models

| Serial number | name |
| --- | --- |
| cne | Sulfur meter main engine |
| 2 | computer |
| 3 | printer |
| 4 5 | Silicon carbon tube Reducing combustion chamber |
| 6 | Special Svalue indexing thermocouple |
| 7 | ntegrating cell |
| 8 | High temperature feed rod |
| 9 | High temperature quart plate boat |
| 10 | High temperature sampleboat |
| 11 | magnet agitator |
| twelve | silicagel small rubber plug |
| 13 | The serial portconnects to the data cable |
| fourteen | Seal camp |
| 15 | tweezers |
| 16 | Medicina ladle |
| 17 18 | Color-changing silicagel Special electiolyte forcoulomb flow measurement |
| 19 | Sample box |
| 20 | Debug thestandard coal instrument |
| 21 | software |
| 22 | Air filter |
| 23 | Fluorine hose(6*10) |
| 24 | right Angle bracket |
| 25 | specification |
| 26 | Certificate of confomity |

)

24 touchscreen models

| Automatic diversification of rapid sulfur measuring equipmenthost |  | A set |
| --- | --- | --- |
| Special superalloy sample delivery rod |  | A root |
| Sulfur type Sthermocouple |  | A set |
| Sicon carbon tube laithshconcarbon titecpandhigh temperature lead |  | Aset |
| Reducing pipe |  | two |
| Coulomb integral cell/cracking cell |  | A set |
| Three sets of electrolytic cell | (Stirrer+clamp+electrolysis Pool inlet filter) | A set |
| High quality siliconetube |  | 0.5meters |
| Special discard sample storage box |  | A set |
| Dedicated quartz boat | Dedicated 2 |  |
| Special porcelain boat |  | twenty |
| electrolyte | 1 for debugging | part |
| Standard coal sample |  |  |
| Color-changing silica gel | Hbottlefor debuggi | ng |
| 2-piece experiment kit (spoon+tweezers) |  | part |
| Supporting instructions+packing list+Certificate |  | A set |