## Slide 2
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 16L/200W
Inner Chamber Size W×D×H | 250×260×250mm
Overall Dimensions W×D×H | 530×480×420mm
Model:DHP-9012

## Slide 3
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 16L/200W
Inner Chamber Size W×D×H | 250×260×250mm
Overall Dimensions W×D×H | 530×480×420mm
Model:DHP-9012B

## Slide 4
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 35L/200w
Inner Chamber Size W×D×H | 340×320×320mm
Overall Dimensions W×D×H | 620×490×490mm
Model:DHP-9032

## Slide 5
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 35L/200w
Inner Chamber Size W×D×H | 340×320×320mm
Overall Dimensions W×D×H | 620×490×490mm
Model:DHP-9032B

## Slide 6
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 50L/300w
Inner Chamber Size W×D×H | 415×360×355mm
Overall Dimensions W×D×H | 690×500×500 mm
Model:DHP-9052

## Slide 7
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 50L/300w
Inner Chamber Size W×D×H | 415×360×355mm
Overall Dimensions W×D×H | 690×500×500 mm
Model:DHP-9052B

## Slide 8
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 80L/400w
Inner Chamber Size W×D×H | 500×400×400mm
Overall Dimensions W×D×H | 780×530×560 mm
Model:DHP-9082

## Slide 9
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 80L/400w
Inner Chamber Size W×D×H | 500×400×400mm
Outer Dimensions W×D×H | 780×530×560 mm
Model:DHP-9082B

## Slide 10
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 160L/600w
Inner Chamber Size W×D×H | 500×500×650mm
Overall Dimensions W×D×H | 790×630×810mm
Model:DHP-9162

## Slide 11
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 160L/600w
Inner Chamber Size W×D×H | 500×500×650mm
Overall Dimensions W×D×H | 790×630×810mm
Model:DHP-9162B

## Slide 12
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 270L/750w
Inner Chamber Size W×D×H | 600×600×750mm
Outer Dimensions W×D×H | 890×740×910mm
Model:DHP-9272

## Slide 13
Temperature control range | RT+5～65℃
Temperature Uniformity | ±1.5℃(at 37℃)
Capacity/lnput Power | 270L/750w
Inner Chamber Size W×D×H | 600×600×750mm
Overall Dimensions W×D×H | 890×740×910mm
Model:DHP-9272B

## Slide 14
Temperature control range | RT+5～65℃
Temperature Uniformity | ±2.0℃(at 37℃)
Capacity/lnput Power | 420L/1100w
Inner Chamber Size W×D×H | 640×585×1355 mm
Dimensions W×D×H | 780×750×1880 mm
Model:DHP-9402(Vertical)

## Slide 15
Temperature control range | RT+5～65℃
Temperature Uniformity | ±2.0℃(at 37℃)
Capacity/lnput Power | 1000L/2200w
Inner Chamber Size W×D×H | 890×740×1590mm
Dimensions WXDXH | 1050×880×2060mm
Model:DHP-9602(Vertical)