## Slide 2
Smart Temperature Control Instrument
Intelligent digital display PID temperature control instrument with stable temperature
36.0
PV
control accuracy,featuring timing,over-temperature alarm,temperature deviation
correctionself-tuning,power-off memory,and faut self-diagnosis functions
LCD liquid crystal display
sV 38.0
Set
Shift/AT
Dec/Rst
▲△

## Slide 3
厂 Mirror-finished stainless steel
inner liner 」
The internal partition spacing is adjustable
The BS type uses a mirror-finished stainless steel inner liner,with rounded corners for easy cleaning of the internal grid partitions,and the partition spacing is adjustable,making the interior
Airflow circulation is smoother,and stacking partitions double the load-bearing capacity

## Slide 4
New items added
inside the box
厂 LED lighting strip
An additional LED lighting strip has beeninstalled inside the box with a user-friendly design,providing intuitive visibility to observe the sample cultivation status,making nighttime experiments more considerate.
Open

## Slide 5
Large-area observation window
厂Double-layer tempered
glass
Large observation window for easy monitoring of sample status without opening
the door;maintains constant temperature inside the chamber.Double-layer
tempered glass provides clear visibility and enhanced insulation.

## Slide 6
Hinge
Cold-rolled sheet/
Stainless Steel
Inner Liner
Partition
Tempered glass
observation window
Corrosion-resistant
water collection plate
LCD liquid crystal instrument
Instrument details
Instrument details
Top ventilation hole
Electrostatic spray plastic body
Handle
Lighting switch
Cooling holes
Foot
Power Switch

## Slide 7
Instrument list
List of instruments
Partition(1)
Partition(2)
Power Cable
N-shaped
Certificate of Conformity
User manual n
C □
User Manual Fusex2
silyerjoint.

## Slide 8
Display | mode:LCD liquid crystal
Power: 300W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 15.6L | 
Sample Shelf:2 pieces | 
Inner Chamber Siz2e5:0×250×250mm | 
LC-HN-25S
Electric Constant
Temperature Incubator
★High-quality cold-rolled galvanized iron tank
instrument

## Slide 9
Display | mode:LCD liquid crystal
Power: 300W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 15.6L | 
Sample Shelf:2 pieces | 
Inner Chamber Siz2e5:0×250×250mm | 
LC-HN-25BS
Electric Constant
Temperature Incubator
★Mirror-finished Stainless Steel
Thickened Inner Chamber
instrument

## Slide 10
Display | mode:LCD liquid crystal
Power: 400W | 
Temperature RT+5℃~100℃ control range: | 
Timing range: 0~9999min | 
Volume: 42L | 
Sample tray:2 pieces | 
Inner tank si3z5e0:×350×350mm | 
LC-HN-36S
Electric thermostatic incubator
★High-quality cold-rolled galvanized iron tank
instrument

## Slide 11
Display | mode:LCD liquid crystal
Power: 400W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 42L | 
Sample Shelf:2 pieces | 
Inner Chamber Si 0:×350×350mm | 
LC-HN-36BS
Electric Constant
Temperature Incubator
★Mirror-finished Stainless Steel
Thickened Inner Chamber
instrument

## Slide 12
Display | mode:LCD liquid crystal
Power: 500W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 70L | 
Sample Shelf:2 pieces | 
Inner Chamber350×450×450mm Size: | 
LC-HN-40S
Electric Constant
Temperature Incubator
★High-quality cold-rolled galvanized iron tank
instrument

## Slide 13
Display | mode:LCD liquid crystal
Power: 500W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 70L | 
Sample Shelf:2 pieces | 
Inner Cavity Si3z5e0:×450×450mm | 
LC-HN-40BS
Electric Constant
Temperature Incubator
★Mirror-finished Thickened Stainless Steel Inner Cavity
instrument

## Slide 14
Display | mode:LCD liquid crystal
Power: 600W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 136L | 
Sample tray:2 pieces | 
Inner tank si4z5e0:×550×550mm | 
LC-HN-50S
Electric thermostatic incubator
★High-quality cold-rolled galvanized iron tank
instrument

## Slide 15
Display | mode:LCD liquid crystal
Power: 600W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 136L | 
Sample Shelf:2 pieces | 
Inner Chamber450×550×550mm Size: | 
LC-HN-50BS
Electric Constant
Temperature Incubator
★Mirror-finished Stainless Steel
Thickened Inner Chamber
instrument

## Slide 16
Display | mode:LCD liquid crystal
Power: 800W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 210L | 
Sample Shelf:2 pieces | 
Inner Chamber500×600×700mm Size: | 
LC-HN-60S
Electric Constant
Temperature Incubator
★High-quality cold-rolled galvanized iron tank
instrument

## Slide 17
Display | mode:LCD liquid crystal
Power: 800W | 
Temperature RT+5℃~100℃ control range: | 
Timing range:0~9999min | 
Volume: 210L | 
Sample Shelf:2 pieces | 
Inner Chamber Siz5e0:0×600×700mm | 
LC-HN-60BS
Electric Constant
Temperature Incubator
★Mirror-finished Stainless Steel
Thickened Inner Chamber
instrument

## Slide 18
BXP-2 model
Inner chamber size:110x140x120mm
Temperature control range:RT+5~45℃
Portable incubator

## Slide 19
Temperature Control Range:RT+5~45℃
LICHEN
B8.
UCHEN
金▲
BXP-6 Model
i r:1 Chamber 180x230x160mm
e
e
z
n
S
In
Portable Incubator

## Slide 20
BXP-16 Model
Inner liner size:250x250x250mm
Temperature control range:RT+5~45℃
Portable incubator